## Slide 1
DORMATHON 2026 · TRACK 2
SIMULATED HISTORICAL DATA
AGENTIC SOLUTIONS
GenBuddy
AI-Powered Backup Generator
Maintenance Assistant
Turn generator telemetry, ATS events, and maintenance records
into actionable readiness assessments — with a WorkBuddy AI agent
that plans, investigates, and reasons on its own.
356
Dataset records
3
AI investigations
7
Agent reports
13
Planned steps (Inv 1)
DORMATHON 2026 · Track 2: Agentic Solutions
01 / 10

## Slide 2
02 / BUSINESS PROBLEM
A dark building is the first sign of trouble
ILLUSTRATIVE SCENARIO
Neighborhood Supermarket
A 250 m² store with two refrigerator cases, six freezer units, and a small backup generator in the back.
No on-site electrician. Visual inspections every quarter. ATS assumed to work.
What can go wrong between quarterly inspections?
!
Generator fails to start
Battery, fuel, or controller fault. Discovered only during the outage.
→
Generator starts but ATS does not transfer
Contactor or sensor fault. Generator runs but the building stays dark.
~
Generator overheats under sustained load
Marginal cooling capacity. Shuts down mid-outage.
THE GAP
SMEs have generators. They don't have engineers to interpret what the telemetry is telling them.
0
Telemetry reviews
0
ATS load tests
GenBuddy · DORMATHON 2026 · Track 2: Agentic Solutions
02 / 10

## Slide 3
03 / OUR SOLUTION
GenBuddy turns raw signals into readiness and action
1
INPUTS
Existing generator data
· Telemetry (176 records, 13 params)
· ATS event log (176 records)
· Maintenance history (4 records)
→
2
AI INVESTIGATION
WorkBuddy LLM agent
· Plans a multi-step investigation
· Runs engineering tools
· Reads raw data independently
· Reasons about uncertainties
· Writes structured reports
→
3
OUTPUTS
Actionable insights
· Readiness verdict (READY / NOT READY)
· Prioritized work orders
· Root-cause timelines
· Contractor briefings
BUSINESS OUTCOME
A small business owner asks a plain-English question, and the agent returns a prioritized maintenance plan with evidence — ready for a qualified specialist to act on.
GenBuddy · DORMATHON 2026 · Track 2: Agentic Solutions
03 / 10

## Slide 4
04 / ARCHITECTURE
System architecture: deterministic engineering meets AI reasoning
E
DETERMINISTIC ENGINEERING
Flask Dashboard
app.py · 12 API endpoints · templates/index.html
Engineering Scripts
validate_data.py (13 checks) · fault_investigation.py
CSV Data Sources
generator_data.csv · ats_events.csv · maintenance_history.csv
Request / Output
JSON files in requests/ · reports in outputs/
✓ Reproducible · testable · version-controlled
AI
WORKBUDDY LLM AGENT
Plan
Builds a multi-step plan before executing
Execute Tools
Runs scripts, reads CSVs, queries API
Reason
Distinguishes observed facts from suspected causes
Write Reports
Outputs structured Markdown files for review
✓ Adaptive · investigative · auditable
FLOW
User question
→
FILE
JSON request
→
MANUAL
Paste to WorkBuddy
→
AGENT
Plan + investigate
→
OUTPUT
Reports in dashboard
GenBuddy · DORMATHON 2026 · Track 2: Agentic Solutions
04 / 10

## Slide 5
05 / AGENTIC WORKFLOW
One prompt, one goal, end-to-end execution
AGENT LOOP
1
Plan
Build multi-step plan before any tool runs
2
Execute
Run validation, scripts, reads, API
3
Check
Verify evidence against script findings
4
Reason
Distinguish observed vs suspected causes
5
Report
Write structured deliverables
PROOF: 13-STEP PLAN (INVESTIGATION 1)
1. Run validation script
2. Run fault investigation
3. Read script reports
4. Read maintenance history
5. Read generator specs
6. Read CSV data independently
7. Query Flask API for cross-verification
8. Examine 12 critical timestamps
9. Examine full thermal progression
10. Examine full ATS failure sequence
11. Cross-scenario comparison
12. Battery / fuel health
13. Synthesize findings
WORKBUDDY AGENT IN ACTION
SCREENSHOT PLACEHOLDER
WorkBuddy showing 13-step plan
or tool execution (e.g. validate_data.py)
Python scripts
validate_data.py · fault_investigation.py
Direct CSV reads + Flask API queries
independent verification + cross-check
Report writes
7 AI reports · Markdown deliverables
13
planned steps (Inv 1)
20
tool calls (Inv 1)
3
investigations
7
AI-generated reports
GenBuddy · DORMATHON 2026 · Track 2: Agentic Solutions
05 / 10

## Slide 6
06 / PRODUCT DEMO
The GenBuddy AI Investigation Center
A Flask dashboard where SMEs submit plain-English questions and read the agent's structured reports.
SCREENSHOT PLACEHOLDER
GenBuddy AI Investigation Center
Capture from running dashboard showing:
· User input textarea + example questions
· Investigation status (awaiting → completed)
· Agent report output (verdict, work orders)
EXAMPLE QUESTIONS
What users actually ask
Is my backup generator ready for the next power outage?
INV 1 · READINESS
Why did my generator shut down during last week's outage?
INV 2 · ROOT CAUSE
What should I tell my maintenance contractor to fix?
INV 2 · CONTRACTOR BRIEF
Re-verify the readiness assessment end-to-end.
INV 3 · AUDIT
WHAT THE DASHBOARD DOES
Saves question to JSON · tracks status (awaiting → investigating → completed) · auto-polls every 5s · displays agent reports.
GenBuddy · DORMATHON 2026 · Track 2: Agentic Solutions
06 / 10

## Slide 7
07 / INVESTIGATION RESULTS
The agent found two real problems hiding in the data
SIMULATED DAY 2026-06-01 · THREE SCENARIOS · ALL DATA SIMULATED
✓
Scenario A · 08:15
Normal Operation
!
Scenario B · 11:15
Overheating
×
Scenario C · 15:08
ATS Transfer Anomaly
WO-01 · CRITICAL
ATS Transfer Anomaly
OBSERVED: 11 FAILED transfers in a row
OBSERVED: 0A current, position mismatch
SUSPECTED: contactor / actuator fault
⚠ Simulated data; outage duration inferred from alarm field, not independently measured
WO-02 · HIGH
Cooling System Margin
OBSERVED: coolant 44.8 → 107.7°C at 70% load
OBSERVED: oil 4.54 → 3.16 bar
SUSPECTED: blocked radiator / coolant aging
⚠ 105/107°C thresholds are simulation assumptions
WO-03 · INFO
Continue Scheduled Maint.
VERDICT: engine & alternator healthy
FUEL: 31.2 L/h matches spec
BATTERY: 24.27–28.04V healthy
+ add functional load tests to next service
CRITICAL
1 unresolved
HIGH
1 unresolved
VERDICT
NOT READY FOR SERVICE
GenBuddy · DORMATHON 2026 · Track 2: Agentic Solutions
07 / 10

## Slide 8
08 / DYNAMIC AI PLANNING
The agent did NOT reuse the same plan for both investigations
1
INVESTIGATION 1
Readiness Assessment
"Is my backup generator ready for the next power outage?"
Question type
Forward-looking
Planned steps
13 steps
Data scope
All 356 records, 3 scenarios
Tools
Scripts + API + direct CSV reads
Analysis method
Cross-scenario comparison
Deliverable
Prioritized work orders
Maintenance angle
"Was it serviced recently?"
Key finding: 9.8 percentage points more rated loading → 22.8°C higher temperature
2
INVESTIGATION 2
Root Cause Analysis
"Why did my generator shut down during last week's outage?"
Question type
Backward-looking
Planned steps
8 steps (simplified)
Data scope
92 records, failure window only
Tools
Scripts + direct CSV reads (no API)
Analysis method
Timeline reconstruction
Deliverable
Contractor briefing
Maintenance angle
"Was the service adequate?"
Key finding: 0A current + 11 transfers = unsuccessful transfer
WHAT CHANGED — 7 DIMENSIONS OF ADAPTATION
Plan count
Data scope
Tool choice
Method
Format
Audience
Question framing
GenBuddy · DORMATHON 2026 · Track 2: Agentic Solutions
08 / 10

## Slide 9
09 / VALUE & LIMITATIONS
What we proved — and what we didn't
VERIFIED PROTOTYPE RESULTS
What GenBuddy could do
+
Translate telemetry into plain-English flags
"11 failed ATS transfers" + "0A load current" → flagged for specialist investigation.
+
Prioritize maintenance by business impact
CRITICAL · HIGH · INFORMATIONAL tags based on actual failure modes.
+
Speak contractor fluently
Generates plain-language briefings with specific check instructions.
+
Reason across scenarios
Cross-scenario comparison that fixed-temperature scripts cannot do.
+
Self-correct during investigation
Agent fixed a temperature rise rate error in 3 report files.
HONEST LIMITATIONS
What we did not prove
!
No physical equipment connection
All data is simulated. DSE6120 thresholds are UNVERIFIED.
!
No validated real-world cost savings
No customer case studies; no measured downtime reduction.
!
Manual WorkBuddy triggering
User copies question from dashboard to WorkBuddy. No direct API.
!
Single-user, local runtime
File-based request system. No auth, no multi-user isolation.
!
Open investigation topics remain
DSE6120 thresholds · ambient temp · ATS manufacturer specs.
TRACK 2 PRINCIPLE
Show genuine WorkBuddy usage, not marketing claims.
GenBuddy · DORMATHON 2026 · Track 2: Agentic Solutions
09 / 10

## Slide 10
10 / CONCLUSION
GenBuddy = a backup generator that thinks with you
01
Plans before acting
The agent builds a multi-step plan, then executes tools and reads evidence independently.
02
Reasons, not just matches
Cross-scenario thermal comparison and timeline reconstruction go beyond pattern matching.
03
Adapts per question
Different plans, tools, scopes, and deliverables for readiness vs root cause investigations.
DEMO ACCESS · PLACEHOLDERS
GITHUB
https://github.com/cleo-blayea/Dormathon_Hackathon_Cleo.git
DEPLOYED APP
http://127.0.0.1:5000/
Thank you.
Questions welcome. All evidence files are open in the repo: docs/workbuddy_usage_evidence.md · reports/ai_*.md
GenBuddy · DORMATHON 2026 · Track 2: Agentic Solutions
10 / 10